2kW Wind Turbine kit.

The 2kW wind turbine is supplied as the following kit:

 

· turbine generator 48v

· three taper/twisted fibreglass blades & hub

· 8m tower (four x 2m sections)

· guylines / anchors / tensioners / clamps

· foundation steel

· rectifier

· 2kW inverter

· heavy-duty pivot tower base

 

 

 

 

 

[image: image1.jpg]



[image: image2][image: image3][image: image4]
